## Slide 1: Electric Motor to VFD Compatibility
Jack Bailey
Yaskawa America, Inc

## Slide 6: Motor and VFD Compatible
NEMA MG 1 Part 31, MG1 Part 30, Inverter rated, Good insulation systems

## Slide 7: Single Phased Motor
Before
After

## Slide 8: Turn to Turn Short
Before
After

## Slide 9: Shorted Phase to Phase
Before
After

## Slide 10: Shorted Coil

## Slide 11: Shorted in Slot

## Slide 12: Unbalanced Voltage and Voltage Surge

## Slide 13: Motor Overload and Locked Rotor

## Slide 14: VFD Generated Motor Issues
Overshoot Voltage
Reflected Wave and Standing Wave
Low Rise Time
Long Leads
Non Inverter Tolerant Motors
Bearing Failures

## Slide 15: Solutions
NEMA MG 1 Part 31 (30), OEM Packaged and approved
Load Reactors
DV/DT Filters
Sign Wave Filters
3 Level Inverters

## Slide 16: Higher Risk Motors
Submersible Pump Motors
Small 460V Definite Purpose
Some Imports
Old Small Motors

## Slide 17: What is your drive trying to tell you
GFI Tripping
Sporadic OV, UV or other trips including OL2 and OC.
Short circuit trip